{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["新增购买仪器设备"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"新增购买仪器设备","index":0,"n_rows":4,"n_cols":7,"rows_kept":4,"merged":[[0,0,0,6],[3,0,3,2]]}
["新增购买仪器设备项目"]
["序号","院校需求部门","项目名称","项目设备清单及价格","总额（万元）","基本性能","备注"]
[2,"建筑工程学院","光学水准仪","光学水准仪18台、仪器配套的水准尺。",null,"（1）每公里往返测标准差：优于±1mm\n（2）望远镜成像：正像；\n（3）望远镜倍数：≥38X；\n（4）物镜孔径：≥45mm；\n（5）最短视距：≤1.6m；\n（6）补偿器工作范围：±30′；\n（7）安平精度：±0.3″；\n"]
["合计"]